## Slide 1
Signal processing

## Slide 2
Gaussian peak with normal noise
Frequency
Frequency
Frequency

## Slide 3
Removing High Frequences
Frequency

## Slide 4
Smoothing
w=ones(2*width+1,'d')
convolve(w/w.sum(),y,'valid‘)
Frequency
Frequency
Frequency
Intensity

## Slide 5
Peak Finding
The derivative of a function is zero at its
minima and maxima.
The second derivative is negative at maxima and
positive at minima.

## Slide 6
Peak Finding
Characterize the signal and the noise
Make a model of the data
Select detection method
Select parameters using simulations
Intensity

## Slide 7
Peak Finding: Characterizing the noise
Intensity
Let’s first try without removing the peaks

## Slide 8
Peak Finding: Characterizing the noise
Intensity
Removing the peaks
by looking for outliers
in the root mean
square deviation
(RMSD)
RMSD

## Slide 9
Peak Finding: Characterizing the peaks
Intensity

## Slide 10
Peak Finding: Model of data
points=1000
x = linspace(-1,1,points)
y=noise*random.normal(size=len(x))
y+=signal*gaussian(x,0,0.01)
S/N=1
S/N=2
S/N=4

## Slide 11
Peak Finding: Detection method
S/N=1
S/N=2
S/N=4
Peaks can be detected by finding maxima in the moving average with a window size similar to the peak width

## Slide 12
Peak Finding: Detection method – moving average
S/N=1
S/N=2
S/N=4
Bin size = 5
Bin size = 20
Bin size = 80
Signal

## Slide 13
Peak Finding: Detection method – RMSD
S/N=1
S/N=2
S/N=4
Bin size = 5
Bin size = 20
Bin size = 80
Signal

## Slide 14
Peak Finding: Information about the Peak
centroid
(mean)
full width
at half
maximum
(FWHM)
area
height
maximum
mean
variance
skewness
kurtosis
Intensity

## Slide 15
Information about a Peak
Centroid or mean
A peak is defined by
To calculate any of these measures we need
to know where the peak starts and ends.

## Slide 16
Where does a peak start and end?

## Slide 17
Estimating quantity
Peak height
Curve fitting
Peak area
Peak height
Curve fitting
m/z
Intensity

## Slide 18
What is the best way to estimate quantity?
Peak height - resistant to interference
- poor statistics
Peak area - better statistics
- more sensitive to interference
Curve fitting - better statistics
- needs to know the peak shape
- slow

## Slide 19
Sampling
Retention Time
Intensity

## Slide 20
Sampling

## Slide 21
Summary
Fourier transform - transformation to frequency space and back
Signal – how do we detect and characterize signals?
Noise – how do we characterize noise?
Modeling signal and noise
Simulation to select thresholds and select parameters
Filters – fitering by low-pass (i.e. smoothing) and high-pass filters (e.g. adaptive background correction)
Detection methods based on moving average and RMSD
Convolution - describes the response of a linear and
time-invariant system to an input signal
Cross-correlation is a measure of similarity of two signals
Autocorrelation can be used for finding periodic signals obscured by noise
The dot product can be used to determine how similar two signals are
Coincidence measurements enhance the signal and supresses noise
The quantity associated with a peak – height and area
Sampling – how often do we need to sample a peak to get a good estimate of its area?

## Slide 22
Image Analysis
  Inspecting slices of an image
  Thresholding
  Finding and characterizing objects
  Classifying structures
  Testing if observations are random

## Slide 23
Image Manipulation in Python
Useful Packages:
numpy - array manipulation using ndarray
scipy.ndimage – basic image processing and analysis tools
scikit-image - more image processing & analysis tools
mahotas – more tools
matplotlib - view images with plt.imshow and fig.savefig
In order to load and save images a backend is required, e.g. PIL, freeimage, etc.
Image = 2D numerical array
r o w s
c
o
l
u
m
n
s

## Slide 24
Gel Image Analysis Example
CDI Laboratories

## Slide 25
To find the beginning of each gel, search for the marker lane by using properties of the lane that would differ from the other lanes in the image.
Step 1a: Scan image and identify red color peaks
Step 1: Separate gel images
Step 1b: At each peak found, cut out the potential “marker” lane and get its properties.

## Slide 26
Criteria to detect marker lane:
Number of strong red bands
Band intensity variance
Low green signal
Relative band locations
Step 1: Separate gel images
Notes: NOTE ! – I removed the arrows pointing to missing marker lanes and the grouping signs.

## Slide 27
Step 2: Detect and Straighten Lanes
(x,0)
(x+i,y-max)

## Slide 28
Step 3: Calibrate and Annotate
Green Signal
Red Signal

## Slide 29
Step 4: Measure Intensity of Bands

## Slide 30
Quantitation Example
Signal
Noise
Paolo Mita and Jef Boeke

## Slide 31
Quantitation Example
Experiment
Control
6.7 μg
13.4 μg
33.5 μg
67.0 μg
The goal
Actual Amount [ug]
Measured Amount [ug]

## Slide 32
6.7 μg
13.4 μg
33.5 μg
67.0 μg
Average Pixel Intensity
The goal
Average Pixel Intensity
Amount [ug]
Average Intensity
Actual Amount [ug]
Measured Concentration
Experiment
Control

## Slide 33
Intensity Distribution
Pixel Intensity
Number of Pixels
Experiment
Control
Experiment
Control
67.0 μg

## Slide 34
Intensity Distribution
Number of Pixels
Pixel Intensity
6.7 μg
13.4 μg
33.5 μg
67.0 μg
Experiment
Control

## Slide 35
Average Pixel Intensity, Min Subtracted
Min Intensity Subtracted
Amount [ug]
Average Intensity
Amount [ug]
Average Intensity
Original image
6.7 μg
13.4 μg
33.5 μg
67.0 μg
Experiment
Control

## Slide 36
A Slice
Location
Pixel Intensity

## Slide 37
A Slice
Pixel Intensity
Location
Pixel Intensity
Location

## Slide 38
A Smoothed Slice
Pixel Intensity
Pixel Intensity
Location
Location

## Slide 39
A Smoothed Slice
Pixel Intensity
Location
Pixel Intensity
Location

## Slide 40
A Background Subtracted Slice
Pixel Intensity
Location
Pixel Intensity
Location

## Slide 41
Average Pixel Intensity, Background Subtracted
Background Subtracted
Amount [ug]
Average Intensity
Amount [ug]
Average Intensity
6.7 μg
13.4 μg
33.5 μg
67.0 μg
Experiment
Control
Background Subtracted
and thresholded

## Slide 42
Quantitation Example: 0 & 1D analysis - Summary
The goal
Average Intensity
Subtraction of
Minimum Intensity
Subtraction of
1D Background
Amount [ug]
Amount [ug]
Amount [ug]
Actual Amount [ug]
Measured Amount [ug]
Average Intensity
Average Intensity

## Slide 43
Quantitation Example
Signal
Noise
Paolo Mita and Jef Boeke

## Slide 44
Thresholding
Histogram based thresholding methods assume the greyscale levels of the image are divided into two groups – background and foreground. They attempt to find the threshold level that best divides these two groups.
For example, Otsu’s method finds the threshold level that minimizes the variance among the classes.
scikit-image.org

## Slide 45
Constant Threshold
Original
Image
Constant
Threshold

## Slide 46
Adaptive Threshold
Original
Image
Adaptive
Threshold

## Slide 47
Erosion
Adaptive
Threshold
Erosion

## Slide 48
Removing Small Objects
Small
objects
removed
Erosion

## Slide 49
Fill Objects
Objects
Filled
Small
objects
removed

## Slide 50
Watershed Segmentation
Objects
Filled
Watershed
Segmentation

## Slide 51
2. Reverse the pixels and apply watershed algorithm
1. Calculate distance from each pixel to the edge and label the local maxima
from mahotas import distance, label
from skimage import feature
distances = distance(mask)
maxima = feature.peak_local_max(distances)
spots, n = label(maxima)
surface = distances.max() - distances
areas = mahotas.cwatershed(surface, spots)
Bright Areas = high, dark areas = low
Change the image into another image whose catchment basins are the objects to identify.
Watershed Segmentation

## Slide 52
3. Result: Labeled Areas are the watershed lines
Watershed Segmentation

## Slide 53
TIRF image
PKP2
5 μm
Super Resolution Fluorescence Microscopy Single Molecule Localization Microscopy (PALM, dSTORM)
SRM
Image from Esperanza Agullo-Pascual
Notes: Example Image of total internal reflection fluorescence (TIRF) , f Neonatal rat ventricular myocytes or stained for PKP2, total internal reflection fluorescence (TIRF) TIRF of an inimage created from Example Image, TIRF image created from projection of 2000 frames
dSTORM image – 20 nm resolution
Axial resolution ~ 150 nm (TIRF or HiLO)

## Slide 54
Overlap Example
Dylan Reid and Eli Rothenberg

## Slide 55
Splitting Colors
Original Image
Red Image
Green Image

## Slide 56
Thresholded Image
Original Image
Constant Threshold
Red
Image
Green
Image

## Slide 57
Labeling of Particles
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 1 1 1 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 1 1 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 1 1 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 1 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 1 1 1 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 1 1 1 1 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 1 1 1 1 1 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 1 1 1 1 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 1 1 1 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 1 1 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 1 1 1 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 1 1 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 1 1 1 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 1 1 1 1 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 1 1 1 1 1 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 1 1 1 1 1 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 1 1 1 1 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 1 1 1 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 1 1 1 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 1 1 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 1 1 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 2 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 2 2 2 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 2 2 2 2 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 2 2 2 2 2 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 2 2 2 2 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 2 2 2 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 3 3 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 3 3 3 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 3 3 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 4 4 4 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 4 4 4 4 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 4 4 4 4 4 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 4 4 4 4 4 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 4 4 4 4 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 4 4 4 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0 0
Thresholded
Labeled

## Slide 58
Finding Objects
Original Image
Objects Found

## Slide 59
Measurement of Particles
Some useful measurements available:
Area
Centroid
Eccentricity
Circularity*
Major Axis Length
Minor Axis Length
Min/Mean/Max Intensity
Orientation
Perimeter
Coordinate List
Bounding Box
r o w s
c
o
l
u
m
n
s
* calculated from Area & Perimeter
Notes: Slide 38

## Slide 60
Particle Associations
Overlap between particles
Parent/Child Particles
Area vs. Overlap Area
Useful for detecting structures

## Slide 61: Overlap area in images with two different cluster densities
Overlap Area = 600,800 nm2
Percentage Overlap = 38%
Overlap Area = 1,000,400 nm2
Percentage Overlap = 53%

## Slide 62
1. Read Image and ROI Mask
2. Generate Simulations with different Interaction Factors, from stochastic placement of clusters (Interaction Factor = 0) to increased probability of Overlap (Interaction Factor = 1)
3. Calculate percentage of overlap for experimental image and simulations
4. Model Fitting
5. Prediction of Interaction Factor (IF) for experimental image
IF = 0.90
Notes: Change letter size

## Slide 63
Experimental
Simulation IF = 0
Simulation IF = 0.90
Notes: Example of Super resolution image, and explain what kind of questions we can answer like protein-protein interaction but studying co-localization.
However you cannot tell whether they are random or not. Give two examples of two highly dense images both are random but one has more overlaps because there is more red. and give the IF s for the two same images, we have created a new measure obtained by modeling cluster interactions.

## Slide 64: Example of Simulation
Scale:2 μm
Magnification: 500 nm

## Slide 65: Interaction Factor with images of different cluster densities

## Slide 66
Classifying Structures

## Slide 67
Classifying Structures

## Slide 68
More Colors
Yangdong Yin, Dylan Reid and Eli Rothenberg

## Slide 69
More Dimensions
Esperanza Agullo-Pascual, Alejandra Leo-Macias, Dylan Reid, Mario Delmar and Eli Rothenberg

## Slide 70
Live Imaging
Paolo Mita and Jef Boeke

## Slide 71
Image Analysis - Summary
  Inspecting slices of an image
  Thresholding
  Finding and characterizing objects
  Classifying structures
  Testing if observations are random