## Slide 1
Proteomics Informatics –
Protein identification II: search engines and protein sequence databases (Week 5)

## Slide 2
The response to random input data should be random.
Maximum number of correct identification and minimum number of incorrect identifications for any data set.
Maximal separation between scores for correct identifications and the distribution of scores for random matching proteins for any data set.
The statistical significance of the results should be calculated.
The searches should be fast.
General Criteria for a Good Protein Identification Algorithms

## Slide 3
Search Parameters
Parent tolerance | +/- daltons/ppm
Frag. Tolerance | +/- daltons/ppm
Complete mods | Cys alkylation
Potential mods (artifacts) | Met/Trp oxidation, Gln/Asn deamidation
Potential mods (PTMs) | Phosphoryl, sulfonyl, acetyl, methyl, glycosyl, GPI
Cleavage | Trypsin ([KR]¦{P})
Scoring method | Scores or statistics
Sequences | FASTA files

## Slide 4
MS
Identification – Peptide Mass Fingerprinting
MS
Digestion
All Peptide
Masses
Pick Protein
Compare, Score, Test Significance
Repeat for each protein
Sequence
DB
Identified Proteins

## Slide 5: Response to Random Data
Normalized Frequency

## Slide 6
ProFound – Search Parameters
http://prowl.rockefeller.edu/

## Slide 7: ProFound – Protein Identification by Peptide Mapping
W. Zhang & B.T. Chait,
Analytical Chemistry
72 (2000) 2482-2489

## Slide 8
ProFound Results

## Slide 9
Peptide Mapping – Mass Accuracy

## Slide 10
Peptide Mapping - Database Size
S. cerevisiae
Fungi
All Taxa
Expectation Values
Peptide mapping example:
S. Cerevisiae 4.8e-7
Fungi 8.4e-6
All Taxa 2.9e-4

## Slide 11
Missed Cleavage Sites
u = 1
u = 2
u = 4
Expectation Values
Peptide mapping example:
u=1 4.8e-7
u=2 1.1e-5
u=4 6.8e-4

## Slide 12
Peptide Mapping - Partial Modifications
No Modifications
Phophorylation (S, T, or Y)
Searched Searched With
Without Possible
Modifications Phosphorylation
of S/T/Y
DARPP-32 0.00006 0.01
CFTR 0.00002 0.005
Even if the protein is modified it is usually better to search a protein sequence database without specifying possible modifications using peptide mapping data.

## Slide 13
Peptide Mapping - Ranking by
Direct Calculation of the Significance

## Slide 14
MS/MS
Lysis
Fractionation
Tandem MS – Database Search
MS/MS
Digestion
Sequence
DB
All Fragment
Masses
Pick Protein
Compare, Score, Test Significance
Repeat for all proteins
Pick Peptide
LC-MS
Repeat for
all peptides

## Slide 15: Algorithms

## Slide 16: Comparing and Optimizing Algorithms

## Slide 17
MS/MS - Parent Mass Error
and Enzyme Specificity
Expectation Values
MS/MS example:
Dm=2, Trypsin 2.5e-5
Dm=100, Trypsin 2.5e-5
Dm=2, non-specific 7.9e-5
Dm=100, non-specific 1.6e-4

## Slide 18
Sequest
Cross-correlation

## Slide 19: X! Tandem - Search Parameters
http://www.thegpm.org/

## Slide 20: X! Tandem - Search Parameters

## Slide 21: X! Tandem - Search Parameters

## Slide 22
sequences
sequences
spectra
Conventional,
single stage searching
Generic search engine
Test all
cleavages,
modifications,
& mutations
for all sequences

## Slide 23
Determining potential modifications
- e.g., oxidation, phosphorylation, deamidation
- calculation order 2n
- NP complete
Some hard problems in MS/MS
analysis in proteomics
Allowing for unanticipated peptide cleavages
- e.g., chymotryptic contamination in trypsin
- calculation order ~ 200 × tryptic cleavage
- “unfortunate” coefficient
Detecting point mutations
- e.g., sequence homology
- calculation order 18N
- NP complete

## Slide 24
sequences
sequences
spectra
Multi-stage searching
Tryptic
cleavage
Modifications #1
Modifications #2
Point mutation
X! Tandem

## Slide 25: Search Results

## Slide 26: Search Results

## Slide 27: Sequence Annotations

## Slide 28: Search Results

## Slide 29: Search Results

## Slide 30
Mascot
http://www.matrixscience.com/cgi/search_form.pl?FORMVER=2&SEARCH=MIS

## Slide 31
Lysis
Fractionation
Digestion
LC-MS/MS
Identification – Spectrum Library Search
MS/MS
Spectrum
Library
Pick
Spectrum
Compare, Score, Test Significance
Repeat for
all spectra
Identified Proteins

## Slide 32
1. Find the best 10 spectra for a particular sequence, with the same PTMs and charge.
2. Add the spectra together and normalize the intensity values.
3. Assign a “quality” value: the median expectation value of the 10 spectra used.
4. Record the 20 most intense peaks in the averaged spectrum, it’s parent ion z, m/z, sequence, protein accessions & quality.
Steps in making an
Annotated Spectrum Library (ASL):

## Slide 33
Spectrum Library Characteristics – Peptide Length

## Slide 34
Spectrum Library Characteristics – Protein Coverage

## Slide 35
Library spectrum
Test spectrum
(5:25)
(5:25)
Results: 4 peaks selected, 1 peak missed
Identification – Spectrum Library Search

## Slide 36
Matches | Probability
1 | 0.45
2 | 0.15
3 | 0.016
4 | 0.00039
5 | 0.0000037
Apply a hypergeometric probability model:
- 25 possible m/z values;
- 5 peaks in the library spectrum; and
- 4 selected by the test spectrum.
How likely is this?
Identification – Spectrum Library Search

## Slide 37
If you have 1000 possible m/z values and 20 peaks in test and library spectrum?
1 matched: p = 0.6
5 matched: p = 0.0002
10 matched: p = 0.0000000000001
Identification – Spectrum Library Search

## Slide 38
Experimental
Mass Spectrum
Library of Assigned
Mass Spectra

M/Z

Best search result
Identification – Spectrum Library Search

## Slide 39
X! Hunter

## Slide 40
1. Use dot product to find a library spectrum that best matches a test spectrum.
2. Calculate p-value with hypergeometric distribution.
3. Use p-value to calculate expectation value, given the identification parameters.
4. If expectation value is less than the median expectation value of the library spectrum, report the median value.
X! Hunter algorithm:

## Slide 41
X! Hunter Result
Query Spectrum
Library Spectrum

## Slide 42: Dynamic Range In Proteomics
Large discrepancy between the experimental dynamic
range and the range of amounts of different proteins in
a proteome
Experimental
Dynamic Range
Distribution of
Protein Amounts
Log (Protein Amount)
Number of Proteins
The goal is to identify and characterize all components of
a proteome
Desired Dynamic Range

## Slide 43
Mass
Separation
Detection
Mass
Separation
Peptide
Separation
Peptide
Labeling
Protein
Separation
Digestion
Protein
Labeling
Sample
Extraction
Ionization
Fragmentation

## Slide 44: Experimental Designs Simulated

## Slide 45: Parameters in Simulation
● Distribution of protein amounts in sample
● Loss of peptides before binding to the column
● Loss of peptides after elution off the column
● Distribution of mass spectrometric response for different peptides present at the same amount
● Total amount of peptides that are loaded on column (limited by column loading capacity)
● # of peptide fractions
● # of Proteins in each fraction
● Total amount of peptides that are loaded on column (limited by column loading capacity)
● # of peptide fractions
● Dynamic range of mass spectrometer
● Detection limit of mass spectrometer

## Slide 46: Simulation Results for 1D-LC-MS
Complex Mixtures
of Proteins
RPC
Digestion
MS Analysis
No Protein
Separation
Protein
Separation:
10 fractions
Protein
Separation:
10 fractions
No Protein
Separation
Tissue
Tissue
Body Fluid
Body Fluid

## Slide 47: Success Rate of a Proteomics Experiment
DEFINITION: The success rate of a proteomics experiment is defined as the number of proteins detected divided by the total number of proteins in the proteome.
Log (Protein Amount)
Number of Proteins
Proteins
Detected
Distribution of
Protein Amounts

## Slide 48: Relative Dynamic Range of a Proteomics Experiment
DEFINITION: RELATIVE DYNAMIC RANGE, RDRx,
where x is e.g. 10%, 50%, or 90%
Log (Protein Amount)
RDR90
RDR50
RDR10
Fraction of
Proteins Detected
Number of Proteins
Proteins
Detected
Distribution of
Protein Amounts

## Slide 49: Number of Proteins in Mixture
Tissue
Body Fluid
Body Fluid
1
1
2
RDR50
Success Rate
Tissue
Body Fluid
1
1
Tissue
2
2
2

## Slide 50: Amount of Peptides Loaded on the Column
Tissue
Body Fluid
Body Fluid
2
2
3
RDR50
Success Rate
Tissue
Body Fluid
2
2
Tissue
3
3
3

## Slide 51: Peptide Separation
Tissue
Body Fluid
Body Fluid
3
3
4
RDR50
Success Rate
Tissue
Body Fluid
3
3
Tissue
4
4
4

## Slide 52: Amount loaded and peptide separation
1. Protein separation
2. Amount loaded
3. Peptide separation
Order:
Tissue
Protein
separation
Tissue
Protein
separation
Amount
loaded
Tissue
Tissue
Protein
separation
Peptide
separation
Amount
loaded
1. Protein separation
2. Peptide separation
3. Amount loaded
Protein
separation
Tissue
Tissue
Protein
separation
Peptide
separation
Tissue
Protein
separation
Amount
loaded
Peptide
separation
Protein separation
Amount loaded
Peptide separation
Ranges:
Protein separation: 30000 – 3000 proteins in each fraction
Amount loaded: 0.1 ug – 10 ug
Peptide separation: 100 – 1000 fractions

## Slide 53
Repeat Analysis
1 Analysis

## Slide 54
2 Analyses
Repeat Analysis

## Slide 55
3 Analyses
Repeat Analysis

## Slide 56
4 Analyses
Repeat Analysis

## Slide 57
5 Analyses
Repeat Analysis

## Slide 58
6 Analyses
Repeat Analysis

## Slide 59
7 Analyses
Repeat Analysis

## Slide 60
8 Analyses
Repeat Analysis

## Slide 61
Repeat Analysis: Simulations

## Slide 62: Summary
The success rate of proteome analysis is influenced by the following factors (listed in order of importance):
Amount of peptides loaded on column or mass spectrometric detection limit
The degree of peptide separation or mass spectrometric dynamic range
The degree of protein separation

## Slide 63
Proteomics Informatics –
Protein identification II: search engines and protein sequence databases (Week 5)